## Water Balance
WA Site & Soil Evaluation
Irrigation area sizing
Please read the attached notes before using this spreadsheet
Water Balance for Zero Storage
Site Address:
Date: | 2020-12-14 |  |  |  | Assessor:
INPUT DATA
Design Wastewater Flow | Q | 900 | L/day | Based on maximum potential occupancy and derived from the Supplement to Regulation 29 and Schedule 9 - Wastewater system loading rates
Design Irrigation Rate | DIR | 5 | mm/day | Based on soil texture class/permeability and derived from Table M1 of AS/NZS 1547:2012
Nominated Land Application Area | L | 892 | m2 | 1
Crop Factor | C | 0.8-1.0 | unitless | Estimates evapotranspiration as a fraction of pan evaporation; varies with season and crop type2
Rainfall Runoff Factor | RF | 1 | untiless | Proportion of rainfall that remains onsite and infiltrates, allowing for any runoff
Mean Monthly Rainfall Data | Perth Airport (009021 ) |  |  | BoM Station and number
Mean Monthly Pan Evaporation Data | Perth Airport (009021 ) |  |  | BoM Station and number or data from the Evaporation Data for Western Australia Report
(https://researchlibrary.agric.wa.gov.au/cgi/viewcontent.cgi?article=1058&context=rmtr
Parameter | Symbol | Formula | Units | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Days in month | D |  | days | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Rainfall | R |  | mm/month | 10.9 | 15 | 16.2 | 39.7 | 97.6 | 155.1 | 154.2 | 118.7 | 72.3 | 42.6 | 26.3 | 11.2 | 759.8
Evaporation | E |  | mm/month | 297 | 257 | 224 | 123 | 87 | 59 | 60 | 69 | 106 | 154 | 203 | 259 | 1898
Crop Factor | C |  | unitless | 1 | 1 | 0.9 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.9 | 1 | 1 | 1
OUTPUTS
Evapotranspiration | ET | ExC | mm/month | 297 | 257 | 201.6 | 110.7 | 69.6 | 47.2 | 48 | 55.2 | 95.4 | 154 | 203 | 259 | 1797.7
Percolation | B | DIRxD | mm/month | 155 | 140 | 155 | 150 | 155 | 150 | 155 | 155 | 150 | 155 | 150 | 155 | 1825
Outputs |  | ET+B | mm/month | 452 | 397 | 356.6 | 260.7 | 224.6 | 197.2 | 203 | 210.2 | 245.4 | 309 | 353 | 414 | 3622.7
INPUTS
Retained Rainfall | RR | RxRF | mm/month | 10.9 | 15 | 16.2 | 39.7 | 97.6 | 155.1 | 154.2 | 118.7 | 72.3 | 42.6 | 26.3 | 11.2 | 759.8
Applied Effluent | W | (QxD)/L | mm/month | 31.278 | 28.2511 | 31.278 | 30.2691 | 31.278 | 30.2691 | 31.278 | 31.278 | 30.2691 | 31.278 | 30.2691 | 31.278 | 368.2735
Inputs |  | RR+W | mm/month | 42.178 | 43.2511 | 47.478 | 69.9691 | 128.878 | 185.3691 | 185.478 | 149.978 | 102.5691 | 73.878 | 56.5691 | 42.478 | 1128.0735
STORAGE CALCULATION
Storage remaining from previous month |  |  | mm/month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage for the month | S | (RR+W)-(ET+B) | mm/month | -409.822 | -353.7489 | -309.122 | -190.7309 | -95.722 | -11.8309 | -17.522 | -60.222 | -142.8309 | -235.122 | -296.4309 | -371.522
Cumulative Storage | M |  | mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maximum Storage for Nominated Area | N |  | mm | (https://researchlibrary.agric.wa.gov.au/cgi/viewcontent.cgi?article=1058&context=rmtr Jan: 0
| V | NxL | L | (https://researchlibrary.agric.wa.gov.au/cgi/viewcontent.cgi?article=1058&context=rmtr Jan: 0
LAND AREA REQUIRED FOR ZERO STORAGE |  |  | m2 | 63.251 | 65.9686 | 81.9624 | 122.1719 | 219.685 | 641.3302 | 571.7213 | 304.918 | 155.9792 | 104.7297 | 82.6446 | 69.2651
MINIMUM AREA REQUIRED FOR ZERO STORAGE: |  |  |  | (https://researchlibrary.agric.wa.gov.au/cgi/viewcontent.cgi?article=1058&context=rmtr Jan: 642; (https://researchlibrary.agric.wa.gov.au/cgi/viewcontent.cgi?article=1058&context=rmtr Feb: m2
CELLS
Please enter data in blue cells
| XX | Enter available Land Application Area
| XX | Data in yellow cells is calculated by the spreadsheet, DO NOT ALTER THESE CELLS
NOTES
1 This value should be the largest of the following: land application area required based on the most limiting nutrient balance or minimum area required for zero storage
2 Values selected are suitable for grass in WA